## Slide 1
Introduction to Next-generation sequencing
10.11.2021
Melanie Lang & Guillem Salazar

## Slide 2
Origins of DNA sequencing
1953: Discovery of the structure of DNA
Photo 51
https://the-dna-universe.com/2020/11/02/a-journey-through-the-history-of-dna-sequencing/

## Slide 3
Origins of DNA sequencing
1953: Discovery of the structure of DNA
1965: “Sequencing” of the first tRNA
           use of ribonucleases with cleaving sites at specific nucleotides
           reconstruction of the original nucleotide sequence by determining the order in which small fragments occurred in the tRNA molecule
https://the-dna-universe.com/2020/11/02/a-journey-through-the-history-of-dna-sequencing/
Robert W. Holley

## Slide 4
Origins of DNA sequencing
1953: Discovery of the structure of DNA
1965: “Sequencing” of the first tRNA
           use of ribonucleases with cleaving sites at specific nucleotides
           reconstruction of the original nucleotide sequence by determining the order in which small fragments occurred in the tRNA molecule
          1972: Sequencing of first complete gene (coat protein of bacteriophage MS2) via RNAse digestion and isolation of oligonucleotides
https://the-dna-universe.com/2020/11/02/a-journey-through-the-history-of-dna-sequencing/
Robert W. Holley
Walter Fiers

## Slide 5
Origins of DNA sequencing
1953: Discovery of the structure of DNA
1965: “Sequencing” of the first tRNA
           use of ribonucleases with cleaving sites at specific nucleotides
           reconstruction of the original nucleotide sequence by determining the order in which small fragments occurred in the tRNA molecule
          1972: Sequencing of first complete gene (coat protein of bacteriophage MS2) via RNAse digestion and isolation of oligonucleotides
          1977: Release of “chain termination method” utilizing radiolabeled partially digested fragments  FIRST GENERATION SEQUENCING
https://the-dna-universe.com/2020/11/02/a-journey-through-the-history-of-dna-sequencing/
Robert W. Holley
Walter Fiers
Frederick Sanger

## Slide 6
Origins of DNA sequencing
1953: Discovery of the structure of DNA
1965: “Sequencing” of the first tRNA
           use of ribonucleases with cleaving sites at specific nucleotides
           reconstruction of the original nucleotide sequence by determining the order in which small fragments occurred in the tRNA molecule
          1972: Sequencing of first complete gene (coat protein of bacteriophage MS2) via RNAse digestion and isolation of oligonucleotides
          1977: Release of “chain termination method” utilizing radiolabeled partially digested fragments  FIRST GENERATION SEQUENCING
https://the-dna-universe.com/2020/11/02/a-journey-through-the-history-of-dna-sequencing/
Robert W. Holley
Walter Fiers
Frederick Sanger
 Main sequencing technology for next 25 years
 Key innovations mainly in automation of wet-lab and data analysis pipelines

## Slide 7
Origins of DNA sequencing
1996: Beginning of NEXT-GENERATION SEQUENCING
     Pyrosequencing
https://the-dna-universe.com/2020/11/02/a-journey-through-the-history-of-dna-sequencing/
PPi = Pyrophosphate

## Slide 8
Origins of DNA sequencing
1996: Beginning of NEXT-GENERATION SEQUENCING
     Pyrosequencing
PPi = Pyrophosphate
https://the-dna-universe.com/2020/11/02/a-journey-through-the-history-of-dna-sequencing/
https://www.ebi.ac.uk/training/online/courses/functional-genomics-ii-common-technologies-and-data-analysis-methods/next-generation-sequencing/454-sequencing/

## Slide 9
Origins of DNA sequencing
1996: Beginning of NEXT-GENERATION SEQUENCING
     Pyrosequencing
https://the-dna-universe.com/2020/11/02/a-journey-through-the-history-of-dna-sequencing/
https://www.ebi.ac.uk/training/online/courses/functional-genomics-ii-common-technologies-and-data-analysis-methods/next-generation-sequencing/454-sequencing/
PPi = Pyrophosphate
Each read will have a different length because different numbers of nucleotides will be added during each wash

## Slide 10
Origins of DNA sequencing
1996: Beginning of NEXT-GENERATION SEQUENCING
     Pyrosequencing
PPi = Pyrophosphate
Sequencing by synthesis
Each read will have a different length because different numbers of nucleotides will be added during each wash
https://the-dna-universe.com/2020/11/02/a-journey-through-the-history-of-dna-sequencing/
https://www.ebi.ac.uk/training/online/courses/functional-genomics-ii-common-technologies-and-data-analysis-methods/next-generation-sequencing/454-sequencing/

## Slide 11
Origins of DNA sequencing
1996: Beginning of NEXT-GENERATION SEQUENCING
     Pyrosequencing
    2005: Implementation of pyrosequencing in automated system
     454 sequencing platform
https://the-dna-universe.com/2020/11/02/a-journey-through-the-history-of-dna-sequencing/
Roche 454 Sequencing System

## Slide 12
Origins of DNA sequencing
1996: Beginning of NEXT-GENERATION SEQUENCING
     Pyrosequencing
    2005: Implementation of pyrosequencing in automated system
     454 sequencing platform
    2007: Illumina acquires Solexa
     Advanced sequencing technology
     Improved throughput
 Single-stranded short DNA sequences are bound to a glass flow cell
 Flow cell is flooded with fluorescently labelled dNTPs and polymerase
In each cycle, one dNTP is incorporated into the reaction and it’s fluorescent signal captured in an image
Process is repeated until a full “read” is assembled
Translation of thousands of fluorescent images into a sequence read
Illumina MiSeq Sequencing platform
https://the-dna-universe.com/2020/11/02/a-journey-through-the-history-of-dna-sequencing/
https://www.ebi.ac.uk/training/online/courses/functional-genomics-ii-common-technologies-and-data-analysis-methods/next-generation-sequencing/454-sequencing/

## Slide 13
Origins of DNA sequencing
Improvements in DNA sequencing: Some numbers…
https://www.genome.gov/about-genomics/fact-sheets/DNA-Sequencing-Costs-Data
*Moore's law is an observation and projection of a historical trend. Rather than a law of physics, it is an empirical relationship linked to gains from experience in production
*
*

## Slide 14
Origins of DNA sequencing
2010: Beginning of THIRD-GENERATION SEQUENCING
     PacBio sequencing (Pacific Biosciences, Inc.)
https://the-dna-universe.com/2020/11/02/a-journey-through-the-history-of-dna-sequencing/
Rhoads & Au (2015) PacBio sequencing and its applications Genomics, Proteomics & Bioinformatics 13(5): 278-289
PacBio RSII sequencer
 polymerase immobilized at the bottom of a “well” (zero-mode waveguide ZMW) in a SMRTcell
Incorporation of fluorescent dNTPs produces a base-specific light pulse
Replication process in all ZMWs is recorded as a “movie” in real-time

## Slide 15
Origins of DNA sequencing
2010: Beginning of THIRD-GENERATION SEQUENCING
     PacBio sequencing (Pacific Biosciences, Inc.)
https://the-dna-universe.com/2020/11/02/a-journey-through-the-history-of-dna-sequencing/
Rhoads & Au (2015) PacBio sequencing and its applications Genomics, Proteomics & Bioinformatics 13(5): 278-289
PacBio RSII sequencer
 Generation of long-reads!!

## Slide 16
Origins of DNA sequencing
2010: Beginning of THIRD-GENERATION SEQUENCING
     PacBio sequencing (Pacific Biosciences, Inc.)
     Nanopore sequencing (Oxford Nanopore Technologies)
https://the-dna-universe.com/2020/11/02/a-journey-through-the-history-of-dna-sequencing/
https://www.sciencedirect.com/topics/neuroscience/nanopore-sequencing
https://nanoporetech.com/applications/dna-nanopore-sequencing
Nanopore MinION
single-stranded DNA/RNA molecules pass through protein nanopore
Each nucleotide that passes the pore leads to a different change in electrical current across pore
Resulting signal is decoded to provide sequence information

## Slide 17
Origins of DNA sequencing
2010: Beginning of THIRD-GENERATION SEQUENCING
     PacBio sequencing (Pacific Biosciences, Inc.)
     Nanopore sequencing (Oxford Nanopore Technologies)
https://the-dna-universe.com/2020/11/02/a-journey-through-the-history-of-dna-sequencing/
https://www.sciencedirect.com/topics/neuroscience/nanopore-sequencing
https://nanoporetech.com/applications/dna-nanopore-sequencing
Nanopore MinION
single-stranded DNA/RNA molecules pass through protein nanopore
Each nucleotide that passes the pore leads to a different change in electrical current across pore
Resulting signal is decoded to provide sequence information
Generation of ultra-long reads (2Mb)!!

## Slide 18
See also: https://www.nature.com/immersive/d42859-020-00099-0/index.html for milestones of genome sequencing…
https://www.genome.gov/about-genomics/fact-sheets/DNA-Sequencing-Costs-Data

## Slide 19
Origins of DNA sequencing: Platform comparison
Rhoads & Au (2015) PacBio sequencing and its applications Genomics, Proteomics & Bioinformatics 13(5): 278-289
 Numbers outdated, main features still remain!

## Slide 20
Origins of DNA sequencing: Platform comparison
Variable (medium) read length, ultra-accurate, low-medium throughput
Numbers are outdated, main features still remain!
Rhoads & Au (2015) PacBio sequencing and its applications Genomics, Proteomics & Bioinformatics 13(5): 278-289

## Slide 21
Origins of DNA sequencing: Platform comparison
Variable (medium) read length, ultra-accurate, low-medium throughput
Fixed short read length, high accuracy, high/ultra-high throughput
Numbers are outdated, main features still remain!
Rhoads & Au (2015) PacBio sequencing and its applications Genomics, Proteomics & Bioinformatics 13(5): 278-289

## Slide 22
Origins of DNA sequencing: Platform comparison
Variable (medium) read length, ultra-accurate, low-medium throughput
Fixed short read length, high accuracy, high/ultra-high throughput
Variable long read length, low/medium accuracy, medium/high throughput
Numbers are outdated, main features still remain!
Rhoads & Au (2015) PacBio sequencing and its applications Genomics, Proteomics & Bioinformatics 13(5): 278-289

## Slide 23
Origins of DNA sequencing: Platform comparison
Variable (medium) read length, ultra-accurate, low-medium throughput
Fixed short read length, high accuracy, high/ultra-high throughput
Variable long read length, low/medium accuracy, medium/high throughput
Numbers are outdated, main features still remain!
Platforms of all generations still in use today…
Rhoads & Au (2015) PacBio sequencing and its applications Genomics, Proteomics & Bioinformatics 13(5): 278-289

## Slide 24
Origins of DNA sequencing: Platform comparison
Variable (medium) read length, ultra-accurate, low-medium throughput
Fixed short read length, high accuracy, high/ultra-high throughput
Variable long read length, low/medium accuracy, medium/high throughput
Numbers are outdated, main features still remain!
Platforms of all generations still in use today…
Rhoads & Au (2015) PacBio sequencing and its applications Genomics, Proteomics & Bioinformatics 13(5): 278-289

## Slide 25
Brainstorm: (NGS) sequencing platform applications

## Slide 26
Brainstorm: (NGS) sequencing platform applications
Different data types for different applications/questions!

## Slide 27
Break…

## Slide 28
NGS short-read sequencing: Different data types

## Slide 29
NGS short-read sequencing: Different data types
Given a community of bacteria in any given habitat (soil, gut, ocean, …) we want to know:
WHO IS THERE?
AT WHAT PROPORTIONS?
WHAT ARE THEY DOING?

## Slide 30
NGS short-read sequencing: Different data types
Meta-barcoding (metaB)
Meta-genomics (metaG)
Meta-transcriptomics (metaT)
Seq approach
Seq material
Target
Taxonomic precision
Resolution

## Slide 31
NGS short-read sequencing: Different data types
Meta-barcoding (metaB)
Meta-genomics (metaG)
Meta-transcriptomics (metaT)
Seq approach
Seq material
Target
Taxonomic precision
Resolution
Targeted
Amplicon DNA
Bacterial genomes
Genus/Species
Higher
Non-targeted
Whole genomic DNA
All genomes
Strain/Genome
Lower
Non-targeted
Transcribed RNA
All active genomes
Strain/Genome
Lower

## Slide 32
NGS short-read sequencing: Different data types
Meta-barcoding (metaB)
Meta-genomics (metaG)
Meta-transcriptomics (metaT)
Seq approach
Seq material
Target
Taxonomic precision
Resolution
Targeted
Amplicon DNA
Bacterial genomes
Genus/Species
Higher
Non-targeted
Whole genomic DNA
All genomes
Strain/Genome
Lower
Non-targeted
Transcribed RNA
All active genomes
Strain/Genome
Lower

## Slide 33
NGS short-read sequencing: MetaB
Goal: Identify the members of a bacterial community and its composition
Method: …

## Slide 34
NGS short-read sequencing: MetaB
Goal: Identify the members of a bacterial community and its composition
Method: PCR amplification of (part of) bacterial universal marker gene
The 16S rRNA gene (part of prokaryotic ribosome)
+ proteins
Secondary structure of the 16S rRNA
Conserved region
Hypervariable region*
Fukuda et al. (2016) Molecular approaches to studying microbial communities: Targeting the 16S ribosomal RNA gene Journal of UOEH 38(3): 223-232
Yarza et al. (2014) Uniting the classification of cultured and uncultured bacteria and arachae using 16S rRNA gene sequences Nature Reviews Microbiology 12: 635-645
*Form helical structures, which allow for considerable sequence variation
V1
V2
V3
V4
V5
V6
V7
V8
ribosomal proteins
16S rRNA

## Slide 35
NGS short-read sequencing: MetaB
Goal: Identify the members of a bacterial community and its composition
Method: PCR amplification of (part of) bacterial universal marker gene
The 16S rRNA gene (part of prokaryotic ribosome)
Conserved region  ideal as primer binding sites!
Hypervariable region*  ideal to resolve sequence variation in bacterial population
Fukuda et al. (2016) Molecular approaches to studying microbial communities: Targeting the 16S ribosomal RNA gene Journal of UOEH 38(3): 223-232
Yarza et al. (2014) Uniting the classification of cultured and uncultured bacteria and arachae using 16S rRNA gene sequences Nature Reviews Microbiology 12: 635-645
*Form helical structures, which allow for considerable sequence variation

## Slide 36
NGS short-read sequencing: MetaB
Goal: Identify the members of a bacterial community and its composition
Method: PCR amplification of (part of) bacterial universal marker gene
https://support.illumina.com/documents/documentation/chemistry_documentation/16s/16s-metagenomic-library-prep-guide-15044223-b.pdf
Template DNA strands
PCR amplified target region
PCR1
PCR2
PCR amplified final amplicon

## Slide 37
NGS short-read sequencing: MetaB
Data analysis pipeline
http://web.cbio.uct.ac.za/~gerrit/slides/data_analysis_of_16S_rRNA_gene_amplicons_uct.pdf
Individual reads
Read QC
Read clustering
Error correction

## Slide 38
NGS short-read sequencing: MetaB
Data analysis pipeline
Individual reads
Read QC
Read clustering
Error correction
https://drive5.com/usearch/manual/uparseotu_algo.html
Generation of operational taxonomic units (OTUs)

## Slide 39
NGS short-read sequencing: MetaB
Data analysis pipeline
Individual reads
Read QC
Read clustering
Error correction
https://drive5.com/usearch/manual/uparseotu_algo.html
Mothur, University of Michigan
https://www.mothur.org/
Robert Edgar
http://www.drive5.com/usearch/
University of Colorado
http://qiime.org/
Popular 16S rRNA gene analysis tools
Generation of operational taxonomic units (OTUs)

## Slide 40
NGS short-read sequencing: MetaB
Data analysis pipeline
Individual reads
Read QC
Read clustering
Error correction
https://benjjneb.github.io/dada2/tutorial.html
Learning the error model from the sequencing data:
Infer error rates for all possible nucleotide transitions per consensus quality score
black line represents the estimated error rates after convergence of the machine-learning algorithm
Inferred error model is used to correct individual reads (separately for forward and reverse read)
Merging of forward and reverse reads
Only identical consensus reads are grouped into Amplicon Sequence variants (ASVs)

## Slide 41
NGS short-read sequencing: MetaB
OTUs vs ASVs

## Slide 42
NGS short-read sequencing: MetaB
Taxonomic annotation
https://drive5.com/usearch/manual/uparseotu_algo.html
Popular 16S rRNA gene databases
University of Michigan
https://rdp.cme.msu.edu/
LBNL Berkeley,
now second genomes
http://greengenes.lbl.gov
MPI Bremen
https://www.arb-silva.de/
Taxonomy:
Kingdom
Phylum
Class
Order
Family
Genus
Species

## Slide 43
NGS short-read sequencing: MetaB
Community structure analysis
Relative abundances
note: suffers from
problem of compositionality
Alpha-diversity
ecologically defined as
a function of the number of
species (richness) and the
evenness of species distribution
Beta-diversity
analysis of between-
community dissimilarity

## Slide 44
NGS short-read sequencing: MetaB
Caveat of multiple 16S rRNA gene copies

## Slide 45
NGS short-read sequencing: Different data types
Meta-barcoding (metaB)
Meta-genomics (metaG)
Meta-transcriptomics (metaT)
Seq approach
Seq material
Target
Taxonomic precision
Resolution
Targeted
Amplicon DNA
Bacterial genomes
Genus/Species
Higher
Non-targeted
Whole genomic DNA
All genomes
Strain/Genome
Lower
Non-targeted
Transcribed RNA
All active genomes
Strain/Genome
Lower

## Slide 46
NGS short-read sequencing: MetaG
Goal: Identify the genomic content of a community, its composition and function
Method: …

## Slide 47
NGS short-read sequencing: MetaG
Goal: Identify the genomic content of a community, its composition and function
Method: Shotgun sequencing

## Slide 48
NGS short-read sequencing: MetaG
Goal: Identify the genomic content of a community, its composition and function
Method: Shotgun sequencing
*Can be from bacteria, virus, fungus, human, mouse, …
https://www.genome.gov/genetics-glossary/Shotgun-Sequencing
*Targeted depletion possible

## Slide 49
NGS short-read sequencing: MetaG
https://international.neb.com/-/media/nebus/files/manuals/manuale7103-e7645.pdf?rev=339d6c65a9314c9e988851a9d671fd9a&hash=2AF765847CD54F1B7464205F7920A50F
Sequencing

## Slide 50
NGS short-read sequencing: MetaG
https://international.neb.com/-/media/nebus/files/manuals/manuale7103-e7645.pdf?rev=339d6c65a9314c9e988851a9d671fd9a&hash=2AF765847CD54F1B7464205F7920A50F
Sequencing
Size-selection is required as read-length is fixed!

## Slide 51
NGS short-read sequencing: MetaG
Data analysis pipeline
https://bioinformatics.ca/workshops/2018-analysis-of-metagenomic-data/
Individual reads
Read QC
Remove sequencing adaptors
Quality trimming of reads
Remove unwanted reads (human, mouse, etc.)
Assembled reads
Assembly
Binning
MAGs*
*Metagenome-assembled genomes
 More this afternoon from Lucas
Gene calling
Annotated scaffolds

## Slide 52
NGS short-read sequencing: MetaG
Data analysis pipeline
https://bioinformatics.ca/workshops/2018-analysis-of-metagenomic-data/
Individual reads
Read QC
Remove sequencing adaptors
Quality trimming of reads
Remove unwanted reads (human, mouse, etc.)
Assembled reads
Assembly
Gene calling
Binning
MAGs*
*Metagenome-assembled genomes
 More this afternoon from Lucas
Annotated scaffolds

## Slide 53
NGS short-read sequencing: MetaG
Data analysis pipeline
https://bioinformatics.ca/workshops/2018-analysis-of-metagenomic-data/

## Slide 54
NGS short-read sequencing: MetaG
Data applications

## Slide 55
NGS short-read sequencing: MetaG
Data applications
Accurate microbial abundance estimation using marker genes
Increased taxonomic resolution
Linking function to phenotype

## Slide 56
NGS short-read sequencing: MetaG
Accurate microbial abundance estimation using marker genes
Common problems when using metaB data:
Variation in 16S copy number
Taxonomic annotation is database-dependent
Further:
Genomes from different species can be up to 95% identical1  hard to map reads of length 100-150 to the original genome
Genomes have different length
1Jain et al. Nature Comm. (2018)

## Slide 57
NGS short-read sequencing: MetaG
Accurate microbial abundance estimation using marker genes
Solution: Single-copy universal marker genes
Present in almost all known organisms
Only one copy within each genome
Sunagawa et al. Nature methods (2013); Milanese et al. Nature comm (2019)
Uses 10 universal single-copy marker genes (here 3 are represented)
Map metagenomic reads to marker genes using
Reference genomes
1x
2x

## Slide 58
NGS short-read sequencing: MetaG
Accurate microbial abundance estimation using marker genes
Solution: Single-copy universal marker genes
Present in almost all known organisms
Only one copy within each genome
Sunagawa et al. Nature methods (2013); Milanese et al. Nature comm (2019)
Uses 10 universal single-copy marker genes (here 3 are represented)
Map metagenomic reads to marker genes using
Reference genomes
Assembled and linked contigs
1x
2x
2x
4x

## Slide 59
NGS short-read sequencing: MetaG
Accurate microbial abundance estimation using marker genes
Solution: Single-copy universal marker genes
Present in almost all known organisms
Only one copy within each genome
Sunagawa et al. Nature methods (2013); Milanese et al. Nature comm (2019)
Uses 10 universal single-copy marker genes (here 3 are represented)
Map metagenomic reads to marker genes using
Reference genomes
Assembled and linked contigs
MAGs
1x
2x
2x
4x
1x

## Slide 60
NGS short-read sequencing: MetaG
Increased taxonomic resolution
Hildebrand (2021) mSystems 6(4) e00881-21

## Slide 61
NGS short-read sequencing: MetaG
Increased taxonomic resolution
Hildebrand (2021) mSystems 6(4) e00881-21

## Slide 62
NGS short-read sequencing: MetaG
Increased taxonomic resolution
Hildebrand (2021) mSystems 6(4) e00881-21

## Slide 63
NGS short-read sequencing: MetaG
Linking function to phenotype
Armour, R., Nayfach, S., Pollard, K.S., Sharpton, T.J. (2019) mSystems 4(4) e00332-18
FIG 1 Protein family richness associates with disease. Density plots of the distribution of protein family richness across case and control populations for seven diseases. Asterisks beside plot titles indicate significance from Student’s t test (*, P0.05; **, P0.01; ***,
P0.001)

## Slide 64
NGS short-read sequencing: MetaG
Linking function to phenotype
Armour, R., Nayfach, S., Pollard, K.S., Sharpton, T.J. (2019) mSystems 4(4) e00332-18
FIG 2 Changes in functional composition associate with disease. NMDS plots of Bray-Curtis dissimilarity between cases and controls across diseases; ellipses represent 95% confidence level. Asterisks in NMDS plot titles indicate significance from PERMANOVA (***, P0.001; Table S6). Box plots represent dispersion in beta-diversity within groups. Asterisks in box plots denote significance from P test and ANOVA (*, P 0.05).
Shown are MDS plots based on Bray-Curtis dissimilarity between all samples based on their KO abundances
functional composition of the gut microbiome differs between case and control populations for 6 out of 7 diseases

## Slide 65
NGS short-read sequencing: MetaG
Linking function to phenotype
Armour, R., Nayfach, S., Pollard, K.S., Sharpton, T.J. (2019) mSystems 4(4) e00332-18
FIG 4 Classifying disease status based on the functional composition of the microbiome. ROC curves from random forest classifiers for cases and controls in each disease. The table shows OOB error and AUC values.
“These results suggest that the potential for use of the functional composition of the gut microbiome in disease diagnosis varies by the type and severity of disease”

## Slide 66
NGS short-read sequencing: Different data types
Meta-barcoding (metaB)
Meta-genomics (metaG)
Meta-transcriptomics (metaT)
Seq approach
Seq material
Target
Taxonomic precision
Resolution
Who is there?
At what proportions?
What are they doing?
Targeted
Amplicon DNA
Bacterial genomes
Genus/Species
Higher
Non-targeted
Whole genomic DNA
All genomes
Strain/Genome
Lower
Non-targeted
Transcribed RNA
All active genomes
Strain/Genome
Lower

## Slide 67
NGS short-read sequencing: Different data types
Meta-barcoding (metaB)
Meta-genomics (metaG)
Meta-transcriptomics (metaT)
Seq approach
Seq material
Target
Taxonomic precision
Resolution
Who is there?
At what proportions?
What are they doing?
Targeted
Amplicon DNA
Bacterial genomes
Genus/Species
Higher
Yes
Yes (with limitations)
No
Non-targeted
Whole genomic DNA
All genomes
Strain/Genome
Lower
Yes
Yes
Yes (metabolic potential)
Non-targeted
Transcribed RNA
All active genomes
Strain/Genome
Lower
Yes, if active
Yes if normalized with metaG
Yes

## Slide 68
SUMMARY
Different DNA sequencing technology have been developed over the last 30 years
Different sequencing technologies still in use today for specific applications/questions
Usually there is a trade-off between throughput and accuracy (but still improving)  needs to be tailored to research question
Different technologies generate different data types with individual characteristics (Pros and Cons)  needs to be tailored to research question
Meta-barcoding: Cheap, abundance-independent, limited taxonomic resolution, no functional information
Meta-genomics: expensive, abundance-dependent, high taxonomic resolution, functional information

## Slide 69
Break…

## Slide 70
Block-course study data: The gut microbiome in acute myeloid leukemia (AML)
AML = Acute myeloid leukemia
Cancer of the blood and bone marrow that progresses quickly and always ends in death if untreated
Increased incidence with age
Different genetic variants known to affect treatment outcome
Current best treatment approach: Intensive chemotherapy
Less room for healthy cells
 Frequent infections, anemia, bleeding…

## Slide 71
Block-course study data: Impact of intestinal microbiota on systemic infections, response to chemotherapy and overall outcomes in patients with acute myeloid leukemia – a prospective, non-interventional, single-center study
Intensive chemotherapy
      highly toxic (Gastrointestinal mucositis with enterocolitis extremely common)
      high risk of life-threatening infections during neutropenia
      Gut is main source of bacteria causing infections  use of antibiotics/gut decontamination
      Overall benefit of gut decontamination unknown
      Dysbiosis of the gut microbiome caused by gut decontamination might aggravate patient susceptibility to infection
Bottom line: “The impact of intensive chemotherapy with/without prophylactic gut decontamination on the microbiota, systemic infections and leukemia response in AML patients has not been clarified”

## Slide 72
Block-course study data: Impact of intestinal microbiota on systemic infections, response to chemotherapy and overall outcomes in patients with acute myeloid leukemia – a prospective, non-interventional, single-center study
Study design
3-4 months
~day 8-12
~day 23-33
~day 45-50
~day 0
~day 60-75

## Slide 73
NGS long-read sequencing: MetaB and MetaG
…